## Slide 1: Introduction of Medical Imaging
Paul C. Wang, PhD (王秩秋 1974級 學號583245)
Professor/Radiology/Howard University
Washington, DC
2017/09/21 FJU EE
http://www.howard.edu/medicine/radiology/mil/

## Slide 2
https://youtu.be/xlQNtOSfreg

## Slide 3
Taking an X-ray image with early Crookes tube apparatus, late 1800s. The Crookes tube is visible in center. The standing man is viewing his hand with a fluoroscope screen.

## Slide 4
Hand mit Ringen (Hand with Rings): print of Wilhelm Röntgen's first "medical" X-ray, of his wife's hand, taken on 22 December 1895 and presented to Ludwig Zehnder of the Physik Institut, University of Freiburg, on 1 January 1896
Awarded for | Outstanding contributions in physics
Date | 1901
Location | Stockholm, Sweden
Presented by | Royal Swedish Academy of Sciences

## Slide 5: Imaging Methods
X-ray
CT
PET
SPECT
Ultrasound
MRI
Optical Imaging

## Slide 6
兩個食物在一個長50cm、高40cm 的黑洞裡
四種工具：步槍、BB 槍、彈弓及射馬紙，各4000 發顆子彈朝向黑洞射擊
相同的子彈同時發射一次，四種子彈分四次發射
子彈的大小不計，進入黑洞時的速度，如下：
步槍子彈： 25 m/sec;
BB 槍子彈： 10 m/sec;
彈弓子彈： 5 m/sec;
射馬紙子彈： 0.5 m/sec;
  四種子彈射出後，有的穿過黑洞，有的沒有穿過黑洞
  在黑洞的另外一邊，會得到一張穿透子彈的二維分佈圖
試問：從這四張穿透子彈的二維分佈圖
來推測黑洞裡食物它們的位置及大小，是什麼？

## Slide 7
步槍子彈： 25 m/sec
BB 槍子彈： 10 m/sec
彈弓子彈： 5 m/sec
射馬紙子彈： 0.5 m/sec
10 cm
fruits

## Slide 10: Imaging Methods
X-ray
CT
PET
SPECT
Ultrasound
MRI
Optical Imaging

## Slide 11: Outline
Production of clinical X-ray
X-ray tube structure
generation of X-ray
components of X-ray machine
Creation of X-ray image
interactions of X-ray with tissues
formation of X-ray image
image recording

## Slide 12: X-ray machine

## Slide 13: X-ray
Production of X-ray – high energy electrons interacts with tungsten target in X-ray tube
Image contrast – X-rays attenuation in body
X-ray images – recorded in digital format

## Slide 14
Recording Radiological Image
Interaction of X-ray With Body
Production of X-Ray

## Slide 15: X-ray machine

## Slide 18
X-ray Tube and Housing Assembly

## Slide 19
Major Components of a X-ray Tube – Cathode
Cathode: negative terminal (source of electrons)
filament: a spiral of tungsten wire, supply 10 V, 3-5 amps
thermal emission: tungsten wire heated to 2,200C emits electrons
Tungsten is chosen because it can be drawn into a thin wire, a high melting point, and little tendency to vaporize.
tube current: 100 mA (from cathode to anode travelling through the tube)
focusing cup: to overcome the repulsive force among the electrons, which would result in bombardment of an unacceptable large area on the anode.
Notes: Definitions for tube current, tube voltage, filament current, filament voltage

## Slide 20
Major Components of a X-ray Tube – Anode
Anode: positive terminal (production of X-ray); stationary or rotating
material: tungsten (90%, high efficiency of X-ray production, high temperature capacity) and rhenium (10%, ↑ resistant surface roughing
rotating anode: spreads the heat produced during an exposure over a large area, achieves higher x-ray output, which is limited by the heat generated
structure: tungsten disk, anode stem (molybdenum, heat barrier), rotor
heat dissipation: radiation through vacuum, glass envelope, surrounding oil
roughening and pitting of the anode surface: bombardment by the electrons
Notes: Definitions for tube current, tube voltage, filament current, filament voltage

## Slide 21: Production of X-ray

## Slide 22: Production of X-ray
When accelerated electrons hit target (tungsten) < 5% energy converts to X-rays, the rest energy converts to heat
Two types of X-rays produced: Bremsstrahlung and Characteristic X-rays

## Slide 23: Production of X-ray – Bremsstrahlung and Characteristic X-rays
Deceleration of incident electrons release energies as Bremsstrahlung X-rays

## Slide 24: Production of X-ray – Bremsstrahlung and Characteristic X-rays
Deceleration of incident electrons release energies as Bremsstrahlung X-rays

## Slide 25: Production of X-ray – Bremsstrahlung and Characteristic X-rays
Deceleration of incident electrons release energies as Bremsstrahlung X-rays

## Slide 26: Production of X-ray – Bremsstrahlung and Characteristic X-rays
Incoming electron knocks out an inner shell electron of the target, loses energy (= binding energy of target electron), creates a hole
Outer electron fills the hole and releases characteristic X-ray

## Slide 27
Electrons orbiting around the nucleus at a distance with associated discrete energy states or quantum levels (described by quantum numbers: n, l, and s)
Each shell can contain 2 n2 electrons
Energy required to remove an electron from atom – binding energy
Electron transitions results in radiation.
Radiation energy is characterized by atomic species and original and final quantum numbers – characteristic x-ray.
Production of X-ray – Bremsstrahlung and Characteristic X-rays

## Slide 28: Production of X-ray – Bremsstrahlung and Characteristic X-rays

## Slide 29: Production of X-ray – Bremsstrahlung and Characteristic X-rays

## Slide 30
The distribution of energies in an x-ray spectrum produced by the interaction of 150 KeV electrons with a tungsten target: (a) Unfiltered bremsstrahlung spectrum; (b) Typical bremsstrahlung spectrum with inherent and added x-ray tube filtration.
Vacuumed Pyrex glass
Oil
Tube housing

## Slide 31
X-ray Generator
Supplies electric power to x-ray tube
in two separate compartments:
Control panel to select the appropriate kVp, mA and exposure time
A transformer assembly in oil provides high/low voltage circuit.

## Slide 32
X-ray Generator
Supplies electric power to x-ray tube
in two separate compartments:
Control panel to select the appropriate kVp, mA and exposure time
A transformer assembly in oil provides high/low voltage circuit.

## Slide 33
X-ray Produced at Different Tube Voltages

## Slide 34: X-ray generator and safety features

## Slide 35: Selection of tube voltage (KVp), current and exposure time (mAs)

## Slide 36
X-ray Generator
Supplies electronic power to x-ray tube
in two separate compartments:
Control panel to select the appropriate kVp, mA and exposure time
A transformer assembly in oil provides high/low voltage circuit.

## Slide 37
X-ray Generator
Supplies electronic power to x-ray tube
in two separate compartments:
Control panel to select the appropriate kVp, mA and exposure time
A transformer assembly in oil provides high/low voltage circuit.

## Slide 38
Two basic circuits in a diagnostic x-ray machine:
A step-up transformer supplies high voltage to x-ray tube
A step-down transformer supplies power that heats the filament.
Tube current/voltage:
~ 100 mA
~ 100 KVp (30 - 150 KVp)
Cathode (-):
10 V
3-5 amp

## Slide 39
Two basic circuits in a diagnostic x-ray machine:
A step-up transformer supplies high voltage to x-ray tube
A step-down transformer supplies power that heats the filament.
Tube current:
~ 100 mA
~ 100 KVp (30 - 150 KVp)
Cathode (-):
10 V
3-5 amp

## Slide 40
X-ray Generator
Supplies electronic power to x-ray tube
in two separate compartments:
Control panel to select the appropriate kVp, mA and exposure time
A transformer assembly in oil provides high/low voltage circuit.

## Slide 41
3.2 Transformers
X-ray machine receives 110 or 220 volts, 60 Hz power line to provide:
Filament heating 10 V, 3-5 amps
Tube voltage between anode and cathode, 150 kV.
The transformer is a device that either increases or decreases the voltage in a circuit. When current flows through the primary coil, it creates a magnetic field within the core, and this magnetic field induces a current in the secondary coil.
There are two basic circuits in a diagnostic x-ray machine:
A step up transformer which supplies the high voltage to the x-ray tube
A step-down transformer which supplies the power that heats the filament.
NP VP
______ = ______
NS VS
P = I • V
VP • IP = VS • IS

## Slide 42
Cathode (-):
10 V
3-5 amp
Tube current:
~ 100 mA
~ 100 KVp (30 - 150 KVp)

## Slide 43
A single-diode rectifier allows electron flow through the tube during one half of the alternating current (AC) cycle but not the other half of the cycle.

## Slide 44
A bridge rectifier consists of diodes that reroute the electron flow in the x-ray circuit as the electrical polarity changes. The electrons flow from the cathode to the anode of the x-ray tube with two pulses per AC cycle.

## Slide 45
A single-phase full-wave rectified (two-pulse) circuit

## Slide 48: TUBE RATING CHARTS
The X-ray tube charts are used to determine if a proposed exposure or series of exposures is possible without damage the tube.
Types of tube rating charts: single exposure, angiographic, anode heat input and cooling, and housing heat input and cooling charts.
System parameters influence the characteristics and values of the rating charts:
radiographic techniques: tube current (mA), tube voltage (KVp), and exposure time (ms)
X-ray tube design: focal spot size, anode rotation speed, and use of heat exchangers
X-ray generator type: single phase, 3-phase, high frequency, or constant potential

## Slide 49: X-ray Tube Rating Chart (Single Exposure Chart)
  Is it okay to run a procedure: 80 kVp, 300 mA, and 0.5 sec on this machine?

## Slide 50
Automatic Exposure Control

## Slide 51
How much filtration is enough:
2.5 mm Al equivalent for x-ray energy higher than 70 keV. More filtration is disadvantageous because that will increase the exposure time.
National Council on Radiation Protection Recommendation
kVp Total Filtration
< 50 kVp 0.5 mm Aluminum Eq
50-70 kVp 1.5 mm Aluminum Eq
> 70 kVp 2.5 mm Aluminum Eq

## Slide 52
X-ray tube collimator assembly is attached to the housing at the tube port.
Lead collimator blades define the x-ray field.
A shadow produced by a light source from a virtual position of the focal spot allows visualization and location of the field.
X- ray tube Collimator

## Slide 55: Formation of X-ray Image

## Slide 56: Formation of X-ray Image

## Slide 57
Coherent scattering
Energy of incident x-ray = Energy of outgoing x-ray
It scatters in random directions and causes fog on detectors (film).
It does not contribute patient dose.
It happens rarely, less than 5% in diagnostics x-ray.

## Slide 58
Characteristics:
Ex > Ebind incident x-ray must have sufficient energy to overcome the binding energy
 photo (Ex), energy closer to the binding energy, more possible to have photoelectric effect
More likely x-ray will have photoelectric effect with more bounded electrons
Photoelectric effect
Mechanism: x-ray energy completely taken by bound electrons and ejects bound electrons as photoelectrons with some energy Ee = Ex - Ebind
Photoelectric effect gives the greatest contrast

## Slide 59
Compton Scattering

## Slide 60: Pair Production
me- ,me+= 0.51 MeV

## Slide 61: Formation of X-ray Image

## Slide 62
X-ray attenuation in matter
dI = I – I0 = l I dx
l ; linear attenuation Coefficient
 attenuation coefficients per unit length
 att =  abs +  scatter
Five basic ways x-ray interacts with matter:
coherent scatter
photoelectric effect
Compton scattering
pair production (> 2 x 0.511 MeV)
photodisintegration
Attenuation
µ (material, X-ray energy)

## Slide 63
X-ray attenuation in matter
dI = I – I0 = l I dx
l ; linear attenuation Coefficient
 attenuation coefficients per unit length
 att =  abs +  scatter
Five basic ways x-ray interacts with matter:
coherent scatter
photoelectric effect
Compton scattering
pair production
photodisintegration
Attenuation
µ (material, X-ray energy)

## Slide 64: X-ray attenuation in tungsten

## Slide 65
Graph of Rayleigh, photoelectric, Compton, pair production, and total mass attenuation coefficients for soft tissue (z  7) as a function of energy.

## Slide 66
Graph of Rayleigh, photoelectric, Compton, pair production, and total mass attenuation coefficients for soft tissue (z  7) as a function of energy.

## Slide 67: X-ray attenuation in tissues (Need x-ray energy produces greatest contrast in tissues)

## Slide 68: X-ray attenuation in body

## Slide 69: X-ray attenuation in tissues (Need x-ray energy produces greatest contrast in tissues)

## Slide 70: X-ray attenuation in tissues (Need x-ray energy produces greatest contrast in tissues)

## Slide 71: X-ray attenuation in tissues (Need x-ray energy produces greatest contrast in tissues)

## Slide 72: X-ray attenuation in tissues and barium (Need x-ray energy produces greatest contrast in tissues)

## Slide 73: X-ray attenuation in tissues and barium (Need x-ray energy produces greatest contrast in tissues)

## Slide 74: X-ray attenuation in tissues and barium (Need x-ray energy produces greatest contrast in tissues)

## Slide 75: Recording X-rays Exit from Patient

## Slide 81
8 bits
3 bits
2 bits
1 bit

## Slide 82
8 bits = 28 grey levels = 256 grey levels
8 bits = 1 byte
Image size = 1024 x 1024 x 8 bits
or,
1024 x 1024 byte ~ 106 byte = 1 MByte

## Slide 83
Pixel:
picture element
Pixel size:
FOV/number of pixels
23 cm / 512 = 0.45 mm
Pixel depth:
8 bits: 256 gray levels
2 bytes: 216 (65,536)
Image size:
Number of pixel x depth
512x512x2 bytes

## Slide 84: TYPICAL RADIOLOGIAL IMAGE FORMATS
Modality | Pixel Format | Bits per Pixel
Scintillation camera planar | 642 or 1282 | 8 or 16
SPECT | 642 or 1282 | 8 or 16
PET | 1282 | 16
Digital Fluoro, cardiac cath | 5122 or 10242 | 8 to 12
Computed Radiography, digitized chest film | 2,000 x 2,500 | 10 -12
Mammography (18x24 or 24x30 cm) | 1,800x2,300 to 4,800x6,000 | 12 -16
X-ray CT | 5122 | 12
MRI | 642 to 1,0242 | 12
Ultrasound | 5122 | 8

## Slide 85
Flat Panel Detector (FPD) terminology
Digital Radiography

## Slide 86
Flat Panel Detector (FPD) architecture
Digital Radiography
Notes: 86

## Slide 87
Absorbed x-ray photons
are converted to
light photons in the
Conversion Layer.
The light photons
transmit down to
the pixel electrodes.
X-Rays
Light
Electricity
Digital
Radiograph
X-ray exposure
Flat Panel Detector (FPD) operation
Digital Radiography
Notes: 87

## Slide 88
The pixel electrodes
convert the light
photons to a
corresponding
electrical charge
X-Rays
Light
Electricity
Digital
Radiograph
Charge Accumulation
Flat Panel Detector (FPD) operation
Digital Radiography
Notes: 88

## Slide 89
The TFTs are turned on,
coupling the electrical
charge from each pixel
electrode to the
digitization electronics
The digitization electronics
converts each electrical
charge to a corresponding
pixel value
X-Rays
Light
Electricity
Digital
Radiograph
Readout
Flat Panel Detector (FPD) operation
Digital Radiography
Notes: 89

## Slide 90
The TFTs are turned on, coupling the electrical charge from each pixel electrode to the digitization electronics
X-Rays
Light
Electricity
Digital
Radiograph
Readout
Flat Panel Detector (FPD) operation
Digital Radiography
Notes: 90

## Slide 91
The TFTs are turned on, coupling the electrical charge from each pixel electrode to the digitization electronics
X-Rays
Light
Electricity
Digital
Radiograph
Readout
Flat Panel Detector (FPD) operation
Digital Radiography
Notes: 91

## Slide 92
The TFTs are turned on, coupling the electrical charge from each pixel electrode to the digitization electronics
X-Rays
Light
Electricity
Digital
Radiograph
Readout
Flat Panel Detector (FPD) operation
Digital Radiography
Notes: 92

## Slide 95
Pneumothorax

## Slide 99: Summary
Production of clinical X-ray
X-ray tube structure
generation of X-ray
components of X-ray machine
Creation of X-ray image
interactions of X-ray with tissues
formation of X-ray image
X-ray image contrast (X-ray energy KeV, intensity mAs)
image recording
Digital image (pixel, spatial resolution, gray scale, image size)
Recording/Capture X-ray image

## Slide 100: Additional Readings (suggested)
https://www.youtube.com/watch?v=wGav0hTCiGE
Production of X-ray
X-ray tube
Bremsstrahlung
X-ray interaction with matter
Flat panel detector, thin film transistor
Bushberg, Chapters: 1, 2, 3.2, 3.3, 6, 7.5

## Slide 101: Howard University – Imaging Core
Stephen Lin, MS
Liang Shan, MD, PhD
Tsang-Wei Tu, PhD
Guiqin Xie, PhD
Paul C. Wang, PhD

## Slide 102: Howard University – Imaging Core
Stephen Lin, MS
Liang Shan, MD, PhD
Tsang-Wei Tu, PhD
Guiqin Xie, PhD
Paul C. Wang, PhD